Please INSERT your  parameters  on  YELLOW place.

| Y2-2Rx+(K+1)x2=0, where K=………. R=………. [mm]; Ellipsoid like a rugby balls? Please inform us if a inquired ellipsoid not like a rugby ball.; Prolate, rotation along long axis Ellipsoidal surface Mirror: Z2/a2+(X2+Y2)/b2=1 MOST parameters: work spectral range, S (XF1); AOI; S’ (XF2); focal spot diameter. |
| --- |
| SPECIFICATION |  | Inquired meaning | Notes |
| 1. DIMENSIONS (equal-thickness of concave mirror ) |  |  | Technological standards of ZILTA (see drawings above) (bevels 0.5x45°) |
| - Length x Width (or Diameter) [mm] - Clear Aperture (CA), [mm] - Edge Thickness (ET), [mm] | ........... +0 -0.5 ........... -0 +1 ........... ± 1 |  |  |
| 2. ELLIPCE PARAMETRS (see drawing above) ± 0.5 [%] |  |  | Inquired Specification (see drawings above). Precision direct measurements |
| 2.1. Entrance arm S (focal length to source F1X), [mm] 2.2. Exit arm S ‘ (focal length to source XF2); | S = ........... S ‘ = ............ |  |  |
| 2.3. Angle of Incidence (AOI), [degree], ± 0.5 [%] | ........... |  |  |
| 2.4. Side 1: ellipsoidal, [mm] : a = ........... ; b = ........... ; c = ........... |  |  |  |
| 2.5. Side 2: plane, parallel to Side 1; no beams ( bevels 1x45°) Marking |  |  |  |
| 3. Surface accuracy or Slope Error (at λ test=632.8nm) |  |  | Test & Inspections scheme |
| 3.1. Root Mean Square (RMS) or (and) Peak To Valley (P2V) | λ / ........... λ / ........... |  | Fill if the absence of wavefront distortion is important for your task |
| 3.2. Slope Error (RMS) -Tangential [arcSec] (at spatial sampling) - Sagittal [arcSec] | ........... ……. |  | 2D micromap of surface figure at CA For example: SEtang ≈ tan [(λ/N rms) / Length] |
| 4. Focal spot diameter (FWHM), [µm] | ........... |  | Precision direct measurements |
| 5. Cosmetic quality or (and) [scratch/dig] Substrate Roughness, RMS [nm] |  |  | Roughness measurement (at 0 °) |
| Preferable substrate material (if there is preferences) |  |  |  |
| Working wavelength range, nm (mark if eV is used) | ........... |  |  |
| Preferable coating (if there is preferences) |  |  |  |
| Some other important data or notes? |  |  |  |

Please send this completed form to quote@lasertechn.com to quote it.

If it’s neseccary please add in attachment to Your letter other files.