Please indicate required parameters instead of red tinted ones below (fill areas __________).

Also for best quotation You may fill areas with green line.

| Concave OFF AXIS PARABOLIC MIRROR | SPECIFICATION (see drawing below) |  |
| --- | --- | --- |
|  | Substrate material (Astro Sitall, Zerodur, Fused Silica, other?) | Fused Silica (by default) |
|  | Mirror diameter, [mm] | ____ +0, -0.5 |
|  | Mirror Edge Thickness (ET) , [mm] | ____ ±0.5 |
|  | Clear (Work) Aperture (CA) diameter, [mm], | ____ +0.5, -0 |
|  | Beam diameter, [mm], | ____ |
|  | Effective (or Slant, Reflective) Focal Length, [mm] | ____ ±0.5% |
|  | Parent Parabola Focal Length, [mm] | ____ ±0.5% |
|  | Zonal Radius (Y-Shift, Off Axis Distance to center), [mm] | ____ ±0.5% |
|  | Off Axis Angle ( = two AOI), [arc degrees] | ____ ±0.5% |
|  | Important for wavefront distortion control: Surface figure accuracy (at test Lambda=633nm, RMS or/and P2V) | RMS λ/____ or/and P2V λ/____ |
| Standard specification: Back surface: perpendicular to optical axis of mirror Non optical surfaces: fine ground ~45µm; chamfering Marking: Individual #; Arrow to Vertex; Work environment: Laboratory, +10°C …+45°C, no baking | Surface quality, [Scratch-Dig], choose at full CA or at 1” Micro-Roughness, RMS [nm] | __-__ (for VIS and HLIDT) ______ (for UV, XUV etc.) |
|  | Work wavelength range [nm] (mark if eV preferable) Radiation parameters (pulse energy, duration, frequency etc.) Desirable coating coating requirements | ______ ______ ______ |
|  | Mounted or not? If mounted – mounting requirements? | ______ |
| Other important notes, requirements or something else? Please describe them here. |  |  |

Please send us this completed form to quote@lasertechn.com to quote it.

If it’s necessary please add in attachment to Your letter other files (drawings, documentation and etc.).