Please indicate **required parameters** instead of **red tinted** ones below (fill areas **\_\_\_\_\_\_\_\_\_\_**).

|  |  |
| --- | --- |
| Concave **O**N **A**XIS **P**ARABOLIC MIRROR | SPECIFICATION (see drawing left) |
|  |  Substrate **material**  (AstroSitall®, Zerodur, Fused Silica, etc.) | **AstroSitall®**by deafult |
|  Mirror **diameter,** *[mm]* | **\_\_\_\_** *+0, -0.5* |
|  Mirror **Edge Thickness (ET) ,** *[mm]* | **\_\_\_\_** ±*0.5* |
|  **C**lear(Work) **A**perture(**CA**)**,** *[mm],* | **\_\_\_\_** *+0.5, -0* |
|  **P**arent Parabola **F**ocal **L**ength, *[mm]* | **\_\_\_\_** ±*0.5%* |
| You can set the accuracy of mirror surface manufacturing you need in thefollowing three ways (at least one of them You have to choose), please indicate: |
|  First way:  desirable **focal spot** **diameter** *[FHWM, µm]* | **\_\_\_\_** |
|  Second way: surface **figure accuracy** (at test Lambda=633*nm, RMS or/and P2V*) | RMS **λ/\_\_\_\_\_\_**or/and P2V **λ/\_\_\_\_\_\_** |
| Standard specification:Back surface: flat, ±10’ to **o**ptical **a**xis of the mirrorNon optical surfaces: fine ground ~45*µm*; chamferingMarking: Individual #; Work environment: Laboratory, +10°C …+45°C, no baking,Max humidity 70%  |  Third way: **Slope Error***, [arcSec]*(at test Lambda=633*nm, RMS or/and P2V*) | **\_\_\_\_\_\_** |
|  Surface **quality**, *[Scratch-Dig],* ***choose*** *at full CA* ***or*** *at 1”* Micro-Roughness, *RMS* *[nm]* | **\_\_-\_\_** **\_\_\_\_\_\_** |
|  Desirable **work spectral range**  and **coating specification** requirements | **\_\_\_\_\_\_****\_\_\_\_\_\_** |
|  **Mounted or not?**  If mounted – mounting requirements? | **\_\_\_\_\_\_** |
| Some other important data or notes? |

**Please send this completed form to** **quote@precise-mirrors.com** **to quote it.**

**If it’s neseccary please add in attachment to Your letter other files.**